## Worksheet 1
Instrument | Brief description
Weather sensors | Aosong relative humidity (2 % RH accuracy) and temperature (0.1–1 K accuracy) sensor (0.2 Hz)
Anemometer | 1D static tube with PT100 measuring wind speed and temperature at 100 Hz, wind speed range 3 to 20 ms−1 with
Anemometer | Five-hole static tube; 100 Hz, 4…15 ms−1,
Particle image velocimetry | PIV at 15 Hz with a pulsed 532 nm laser and a high-speed camera, max. probing. vol. 150 mm × 100 mm × 5 mm, to characterize droplet 2D velocity and spatial distribution
Holography | In-line holography at 75 Hz with a pulsed 355 nm laser and 25 Mpx camera, max. probing. vol. 15 mm × 15 mm × 250 mm, to characterize 3D droplet size and spatial distribution
Cloud droplet probe | SPEC Fast CDP using forward scattering to measure droplet size and number concentration of 2 to 50 µm particles up to 2000 cm−3